## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.1 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: Project Engineer cum Estate Officer(I/C), IISER Thiruvananthapuram
Name of Work: Electrical works of I-Square Lab at Central Instrumentation Facility, IISER Thiruvananthapuram
Contract No: 04712778039/8036
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | Rate in Figures to be entered by the bidder in Rs. p | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT With Taxes Rs. P | TOTAL AMOUNT | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 7 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 8 | 9 | 10
1 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface/recessed steel/PVC conduit as required. | [53 empty] | 1 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface/recessed steel/PVC conduit as required.
1.1 | 2 x 4 sq.mm + 1 x 4 sq.mm earth wire |  | 200 | metre | 2902.2 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.1 | 2 x 4 sq.mm + 1 x 4 sq.mm earth wire | 200 | metre
2 | Supplying and fixing of following sizes of UPVC Cable Management System/Mini Trunking System along with accessories on surface including supply of fixing materials, internal couplers, joint covers, end caps, internal and external corners, dividers, cable retainers, tee etc fixing screws as required and connected to the existing CMS system. | [53 empty] | 2 | Supplying and fixing of following sizes of UPVC Cable Management System/Mini Trunking System along with accessories on surface including supply of fixing materials, internal couplers, joint covers, end caps, internal and external corners, dividers, cable retainers, tee etc fixing screws as required and connected to the existing CMS system.
2.1 | 170mm x 57mm |  | 40 | metre | 2902.2 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 2.1 | 170mm x 57mm | 40 | metre
3 | Supplying and fixing following size/modules, PVC box suitable for item No.2 alongwith modular base & cover plate for modular switches in existing Cable management system etc as required. | [53 empty] | 3 | Supplying and fixing following size/modules, PVC box suitable for item No.2 alongwith modular base & cover plate for modular switches in existing Cable management system etc as required.
3.1 | 6 Module (White) |  | 2 | Each | 391 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 3.1 | 6 Module (White) | 2 | Each
3.2 | 6 Module (Black) |  | 7 | Each | 391 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 3.2 | 6 Module (Black) | 7 | Each
3.3 | 4 Module (White) |  | 2 | Each | 391 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 3.3 | 4 Module (White) | 2 | Each
3.4 | 4 Module (Black) |  | 2 | Each | 391 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 3.4 | 4 Module (Black) | 2 | Each
4 | Supplying and fixing following modular switch/socket on the existing modular plate & switch box including connections but excluding modular plate & swich box etc as required. | [53 empty] | 4 | Supplying and fixing following modular switch/socket on the existing modular plate & switch box including connections but excluding modular plate & swich box etc as required.
4.1 | 16A switch (Black) |  | 16 | Each | 391 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 4.1 | 16A switch (Black) | 16 | Each
4.2 | 6/16A socket (Black) |  | 16 | Each | 391 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 4.2 | 6/16A socket (Black) | 16 | Each
4.3 | 16A switch (white) |  | 7 | Each | 391 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 4.3 | 16A switch (white) | 7 | Each
4.4 | 6/16A socket (Black) |  | 7 | Each | 391 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 4.4 | 6/16A socket (Black) | 7 | Each
5 | Supplying and fixing of following modules GI box alongwith modular base & cover plate for modular switches in surface etc as required. (Supply of modular base & cover plate to be considered) | [53 empty] | 5 | Supplying and fixing of following modules GI box alongwith modular base & cover plate for modular switches in surface etc as required. (Supply of modular base & cover plate to be considered)
5.1 | 6Module |  | 1 | Each | 142 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 5.1 | 6Module | 1 | Each
6 | Fixing of 8/12 ways surface mounted vertical type 415V TPN MCB distribution board of sheet steel, dust protected duly powder painted inclusive of tinned copper bus bar, common neutral link, earth bar, din bar for mounting MCbs (but without MCBs and incomer) as required. Note: (Legrand make Vertical DB shall be supplied by The Department at free of cost. |  | 1 | Each | 119 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 6 | Fixing of 8/12 ways surface mounted vertical type 415V TPN MCB distribution board of sheet steel, dust protected duly powder painted inclusive of tinned copper bus bar, common neutral link, earth bar, din bar for mounting MCbs (but without MCBs and incomer) as required. Note: (Legrand make Vertical DB shall be supplied by The Department at free of cost. | 1 | Each
7 | Supplying and fixing 5A to 32A rating, 240/415V, 10kA, "C" curve single pole miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. Make : Legrand/Siemens | [53 empty] | 7 | Supplying and fixing 5A to 32A rating, 240/415V, 10kA, "C" curve single pole miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. Make : Legrand/Siemens
7.1 | Single pole - 16A |  | 26 | Each | 119 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 7.1 | Single pole - 16A | 26 | Each
7.2 | Single pole - 32A |  | 4 | Each | 119 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 7.2 | Single pole - 32A | 4 | Each
7.3 | Triple pole - 25A |  | 2 | Each | 119 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 7.3 | Triple pole - 25A | 2 | Each
8 | Supplying and fixing following rating four pole 415V residual current circuit breaker (RCCB), having a sensitivity current of 100mA in the existing MCB DB complete with connections, testing and commissioning etc. as required. Note: DB Make - Legrand | [53 empty] | 8 | Supplying and fixing following rating four pole 415V residual current circuit breaker (RCCB), having a sensitivity current of 100mA in the existing MCB DB complete with connections, testing and commissioning etc. as required. Note: DB Make - Legrand
8.1 | 63A |  | 1 | Each | 6494 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 8.1 | 63A | 1 | Each
9 | Supplying and fixing following rating four pole 415V miniature circuit breaker (MCB) 'C' curve, in the existing MCB DB/panel complete with connections, testing and commissioning etc. as required. Note: DB Make - Legrand | [53 empty] | 9 | Supplying and fixing following rating four pole 415V miniature circuit breaker (MCB) 'C' curve, in the existing MCB DB/panel complete with connections, testing and commissioning etc. as required. Note: DB Make - Legrand
9.1 | 63A |  | 1 | Each | 6494 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 9.1 | 63A | 1 | Each
10 | Supplying and fixing 4P sheet steel enclosure on surface/recess along with 32/40A 2P 30mA RCCB "C" curve complete with connections, testing and commissioning etc as required. |  | 1 | Each | 6494 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 10 | Supplying and fixing 4P sheet steel enclosure on surface/recess along with 32/40A 2P 30mA RCCB "C" curve complete with connections, testing and commissioning etc as required. | 1 | Each
11 | Providing and fixing 4.00mm dia copper wire on surface or in recess for loop earthing as required |  | 10 | Mtrs | 6494 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 11 | Providing and fixing 4.00mm dia copper wire on surface or in recess for loop earthing as required | 10 | Mtrs
Total in Figures | [51 empty] | 0 | #REF! | INR Zero Only
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | Zero Only
Quoted Rate in Words |  | INR Zero Only

## Macros
Please Enable Macros to View BoQ information